**HEALTH/LIFE SAFETY ANNUAL INSPECTION CHECKLIST (ROE)**

**Administrative and General Building Requirements**

🞏 Safety reference plans (1) 🞏 Fire alarm audibility (10) 🞏 Alcohol hand-rub-dispensers (19)

🞏 School safety drills (2) 🞏 Manual fire alarm station (11) 🞏 Decorative vegetation (20)

🞏 Annual review of crisis plans (3) 🞏 ITM of fire alarm systems (12) 🞏 Space heaters (21)

🞏 Hold-open devices (4) 🞏 Functional sprinkler system (13) 🞏 Furnishings and decorations (22)

🞏 Unobstructed exits (5) 🞏 Clearance above storage (14) 🞏 Interior wall, ceiling and floor finishes (23)

🞏 Emergency lighting + exit signs (6) 🞏 Functional standpipe system (15) 🞏 Extension cords/multiple plug adaptors (24)

🞏 Testing of emergency lighting (7) 🞏 Fire extinguishers (16) 🞏 Electrical systems (25)

🞏 Flam/comb liquids + chemicals (8) 🞏 Safety glazing (17)\* 🞏 Carbon Monoxide Detection (26)

🞏 Fire alarm system (9) 🞏 Shower/eye wash stations (18)\* **(A)-applies only if classified as assembly**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Arts and Crafts Rooms**  🞏 Fire-rated construction (28)  🞏 Fire detectors (29)  🞏 Spray finishing (30)  🞏 Limited Spraying Spaces (31)  🞏 Electrical Wiring & Equip (32)  🞏 Kiln exhaust (33)  🞏 Kiln fuel switch (34)  🞏 Eye glasses (35)\*  🞏 Toxic art supplies (36)\*  **Auditoriums**  🞏 Posted occupancy loads (37)  🞏 Number of exits (38)  🞏 Means of egress arrange (39)  🞏 Illuminated exit signs (40)  🞏 Emergency lighting (41)  🞏 Fire-rated construction (42)  🞏 Fire detectors (43)  **Automotive Shops**  🞏 Fire-rated construction (51)  🞏Fire detectors (52)  🞏Spray paint rooms (53)  🞏 Limited Spraying Spaces (54)  🞏 Electrical Wiring & Equip (55)  🞏 Welding booth exhaust (56)  🞏 Eye glasses (57)\*  **Bleachers and Grandstands**  🞏 Inspection/maintenance (63)\*  🞏 Storage underneath (64)  **Boiler Room**  🞏 Door swing (69)  🞏 Fire-rated construction (70)  🞏 Housekeeping (71)  🞏Fire detectors (72)  🞏Emergency fuel switch (73)  🞏 Inspection posted (74)  **Cafeteria (A)**  🞏 Posted occupant loads (80)  🞏 Number of exits (81)  🞏 Means of egress arrange (82)  🞏 Illuminated exit signs (83)  🞏 Emergency lighting (84)  🞏 Fire-rated construction (85)  🞏 Fire detectors (86)  **Classrooms**  🞏 Doors unlocked (93)  🞏 Fire-rated construction (94)  🞏 Door glass-vision panel (95)  🞏 Classroom door swing (96)  🞏 Artwork in classrooms (97) |  | **Corridors**  🞏 Number of exits (108)  🞏 Dead-end travel (109)  🞏 Illuminated exit signs (110)  🞏 Emergency lighting (111)  🞏 Fire-rated construction (112)  🞏 Width of corridors (113)  🞏 Storage in corridors (114)  🞏 Artwork (115)  **Elevator and Conveying Systems**  🞏Does not obstruct egress (121)  🞏Certificate of Inspection (122)  **Exterior Items**  🞏 Exterior stairs maintained (123)  🞏 Fire lanes (124)  🞏 Fire dept connection (125)  🞏 Fire hydrants (126)  **Fire Escape Stairs**  🞏 Existing fire escapes (128)  🞏 Access to fire escapes (129)  🞏 Protection of openings (130)  🞏 Testing (131)  **Greenhouses**  🞏 Fire-rated construction (132)  🞏 Fire alarm systems (133)  🞏Fire detectors (134)  **Gym and Multipurpose Rooms**  🞏 Posted occupant loads (138)  🞏 Number of exits (139)  🞏 Means of egress arrange (140)  🞏 Illuminated exit signs (141)  🞏 Emergency lighting (142)  🞏 Fire-rated construction (143)  **Home Economics and Family Services Rooms**  🞏 Fire-rated construction (151)  🞏 Fire detector (152)  🞏 Exhaust fan (153  **Industrial Technology Labs**  🞏 Fire-rated construction (161)  🞏 Fire detectors (162)  🞏 Welding booth exhaust(163)  🞏 Eye glasses (164)\*  **Kitchens**  🞏 Fire-rated construction (176)  🞏 Fire detectors (177)  🞏 Fire extinguishers (178)  🞏Cooking hood exhaust (179) |  | 🞏 Exhaust inspections (180)  🞏 Filter maintenance (181)  🞏 Fire extinguishing systems (182)  **Library/Media Center (A)**  🞏 Posted occupancy loads (189)  🞏 Number of exits (190)  🞏 Means of egress arrange (191)  🞏 Illuminated exit signs (192)  🞏 Emergency lighting (193)  🞏 Fire-rated construction (194)  🞏 Fire detectors (195)  **Mechanical & Furnace Rooms**  🞏 Fire-rated construction (198)  🞏 Fire detectors (199)  🞏 Storage of combustibles (200)  **Music Practice Rooms**  🞏 Sound proofing (202)  **Photo Developing Labs**  🞏 Fire-rated construction (208)  🞏 Fire detector (209)  🞏 Exhaust fan (210)  🞏 Chemical storage (211)  **Science Laboratories**  🞏 Fire-rated construction (225)  🞏 Fire detector (226)  🞏 Exhaust fan (227)  🞏 Fume hood exhaust (228)  🞏Eye glasses (229)\*  🞏 Chemical storage (230)  🞏 Emergency fuel switch (231)  **Shower and Locker Rooms**  🞏 Number of exits (235)  🞏 Illuminated exit signs (236)  🞏 Exhaust fan (237)\*  🞏 Vapor-proof lights (238)\*  **Stages (Large)+Accessory Rooms**  🞏Illuminated exit signs (243)  🞏 Emergency lighting (244)  🞏 Fire-rated construction (245)  🞏 Proscenium wall protection (246)  🞏 Curtains and scenery (247)  🞏 Sprinklers and ventilators (248)  🞏 Standpipes (249)  **Stages (Small)**  🞏 Illuminate exit signs (256)  🞏 Emergency lighting (257)  🞏 Curtains+scenery (258)  🞏 Fire detectors (259) |  | **Stages with Storage Under**  🞏 Fire-rated constr (265)  🞏 Storage only (266)  🞏 Fire detectors (267)  🞏 Sprinklers (268)  **Stairwells**  🞏 Properly maintained (272)  🞏Illuminated exit signs (273)  🞏 Emergency lighting (274)  🞏 Stair enclosure (275)  🞏No storage (276)  🞏 Fire detector (277)  **Storage/Supply/Closets**  🞏 Fire-rated constr (283)  🞏 Fire detector (284)  🞏 Classroom/janitor’s (285)  **Swimming Pools**  🞏Occup loads (289) **(A)**  🞏 Number of exits (290) **(A)**  🞏 Egress arrange (291) **(A)**  🞏 Exit signs (292) **(A)**  🞏 Emerg lighting (293) **(A)**  🞏 Fire-rated constr (294) **(A)**  🞏 Vapor-proof lights (295)\*  🞏 Exhaust fan (296)\*  🞏 IDPH equipment (297)\*  🞏 Fire extinguisher (298)  🞏 Fire detectors (299)  **Teachers Workrooms and Lounges**  🞏 Fire-rated constr (301)  🞏 Fire detector (302)  🞏 Exhaust fan (303)  **Time-Out Rooms**  🞏 Ceiling height (304)  🞏 Safe construction (305)  🞏 Locking (306)  🞏 Monitoring (307)  **Toilets**  🞏 Exhaust fan (309)\*  **Woodworking Shop**  🞏 Fire-rated constr (315)  🞏 Fire detectors (316)  🞏Fire extinguishers (317)  🞏 Sawdust collector (318)  🞏 Eye glasses (319)\*  🞏 Housekeeping (320) |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **District** | | | | |  | | **Date:** |
| **School** | | | | |  | |  |
| **School Address** | | | | |  | | **Inspected by:** |
| ***Administration and General Building Requirements*** | | | | | | | |
| **Y** | **N** | **N/A** |  | **(Code references found in the Glossary)** | | **Remarks** | |
|  |  |  | 1 | Safety reference plans | |  | |
|  |  |  | 2 | School safety drills | |  | |
|  |  |  | 3 | Annual review of crisis plans | |  | |
|  |  |  | 4 | Hold-open devices | |  | |
|  |  |  | 5 | Unobstructed exits | |  | |
|  |  |  | 6 | Emergency lighting and illuminated exit signs | |  | |
|  |  |  | 7 | Testing of emergency lighting and exit signs | |  | |
|  |  |  | 8 | Flammable/combustible liquids + chemicals | |  | |
|  |  |  | 9 | Fire alarm system | |  | |
|  |  |  | 10 | Fire alarm audibility | |  | |
|  |  |  | 11 | Unobstructed manual fire alarm stations | |  | |
|  |  |  | 12 | Inspection, testing, maintenance fire alarm system | |  | |
|  |  |  | 13 | Functional sprinkler system | |  | |
|  |  |  | 14 | Clearance above storage and from sprinklers | |  | |
|  |  |  | 15 | Functional standpipe system | |  | |
|  |  |  | 16 | Fire extinguishers | |  | |
|  |  |  | 17 | Safety glazing\* | |  | |
|  |  |  | 18 | Emergency shower and eye wash stations\* | |  | |
|  |  |  | 19 | Wall-mounted alcohol hand-rub dispensers | |  | |
|  |  |  | 20 | Decorative vegetation | |  | |
|  |  |  | 21 | Space heaters | |  | |
|  |  |  | 22 | Furnishings and decorations | |  | |
|  |  |  | 23 | Interior Wall, ceiling, and floor finishes | |  | |
|  |  |  | 24 | Extension cords/multiple adaptors | |  | |
|  |  |  | 25 | Electrical systems | |  | |
|  |  |  | 26 | Carbon Monoxide Detection | |  | |
|  | | | | | | | |
| ***Specific Requirements for Rooms and Spaces*** | | | | | | | |
|  | | | | | | | |
| **Y** | **N** | **N/A** |  | **Arts and Crafts Rooms** | | **Remarks** | |
|  |  |  | 28 | Fire-rated construction and door closers | |  | |
|  |  |  | 29 | Fire detectors | |  | |
|  |  |  | 30 | Spray finishing operations using flammable finishes | |  | |
|  |  |  | 31 | Limited spraying spaces | |  | |
|  |  |  | 32 | Explosion proof fixtures | |  | |
|  |  |  | 33 | Kiln exhaust fan | |  | |
|  |  |  | 34 | Kiln fuel switch | |  | |
|  |  |  | 35 | Eye glasses\* | |  | |
|  |  |  | 36 | Toxic art supplies\* | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Auditoriums** | | **Remarks** | |
|  |  |  | 37 | Posted occupancy load | |  | |
|  |  |  | 38 | Number of exits | |  | |
|  |  |  | 39 | Means of egress arrangement | |  | |
|  |  |  | 40 | Illuminated exit signs | |  | |
|  |  |  | 41 | Emergency lighting | |  | |
|  |  |  | 42 | Fire-rated construction and door closers | |  | |
|  |  |  | 43 | Fire detectors | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Automotive Shops** | | **Remarks** | |
|  |  |  | 50 | Emergency lighting | |  | |
|  |  |  | 51 | Fire-rated construction and door closers | |  | |
|  |  |  | 52 | Fire detectors | |  | |
|  |  |  | 53 | Fire protection in spray paint rooms and booths | |  | |
|  |  |  | 54 | Limited Spraying Spaces | |  | |
|  |  |  | 55 | Explosion proof lights | |  | |
|  |  |  | 56 | Welding booth exhaust | |  | |
|  |  |  | 57 | Eye glasses\* | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Bleachers and Grandstands** | | **Remarks** | |
|  |  |  | 63 | Installation, inspection and maintenance\* | |  | |
|  |  |  | 64 | Combustible storage and waste accumulation | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Boiler Room** | | **Remarks** | |
|  |  |  | 69 | Door swing | |  | |
|  |  |  | 70 | Fire-rated construction and door closers | |  | |
|  |  |  | 71 | Housekeeping | |  | |
|  |  |  | 72 | Fire detectors | |  | |
|  |  |  | 73 | Emergency fuel burner switch | |  | |
|  |  |  | 74 | Certificate of inspection posted | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Cafeteria (A)** | | **Remarks** | |
|  |  |  | 80 | Posted occupant loads | |  | |
|  |  |  | 81 | Number of exits | |  | |
|  |  |  | 82 | Means of egress arrangement | |  | |
|  |  |  | 83 | Illuminated exit signs | |  | |
|  |  |  | 84 | Emergency lighting | |  | |
|  |  |  | 85 | Fire-rated construction and door closers | |  | |
|  |  |  | 86 | Fire detectors | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Classrooms** | | **Remarks** | |
|  |  |  | 93 | Inside of exit doors unlocked | |  | |
|  |  |  | 94 | Fire-rated construction and door closers | |  | |
|  |  |  | 95 | Door glass-vision panel | |  | |
|  |  |  | 96 | Classroom door swing | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Computer Hub Closets** | | **Remarks** | |
|  |  |  | 102 | Fire detectors | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Corridors** | | **Remarks** | |
|  |  |  | 108 | Number of exits | |  | |
|  |  |  | 109 | Dead-end travel | |  | |
|  |  |  | 110 | Illuminated exit signs | |  | |
|  |  |  | 111 | Emergency lighting | |  | |
|  |  |  | 112 | Fire-rated construction | |  | |
|  |  |  | 113 | Capacity and width of corridors | |  | |
|  |  |  | 114 | Storage in corridors and lobbies | |  | |
|  |  |  | 115 | New Artwork | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Elevator and Conveying Systems** | | **Remarks** | |
|  |  |  | 121 | Does not obstruct egress | |  | |
|  |  |  | 122 | Certificate of inspection | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Exterior Items** | | **Remarks** | |
|  |  |  | 123 | Exterior stairways properly installed/maintained | |  | |
|  |  |  | 124 | Fire lanes | |  | |
|  |  |  | 125 | Fire department connection | |  | |
|  |  |  | 126 | Fire hydrants | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Fire Escape Stairs** | | **Remarks** | |
|  |  |  | 128 | Existing fire escapes | |  | |
|  |  |  | 129 | Access to fire escapes | |  | |
|  |  |  | 130 | Protection of openings | |  | |
|  |  |  | 131 | Testing | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Greenhouses** | | **Remarks** | |
|  |  |  | 132 | Fire-rated construction and door closers | |  | |
|  |  |  | 133 | Fire alarm systems | |  | |
|  |  |  | 134 | Fire detectors | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Gym and Multipurpose Rooms** | | **Remarks** | |
|  |  |  | 138 | Posted occupant loads | |  | |
|  |  |  | 139 | Number of exits | |  | |
|  |  |  | 140 | Means of egress arrangement | |  | |
|  |  |  | 141 | Illuminated exit signs | |  | |
|  |  |  | 142 | Emergency lighting | |  | |
|  |  |  | 143 | Fire-rated construction and door closers | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Home Economics+Family Services Rooms** | | **Remarks** | |
|  |  |  | 151 | Fire-rated construction and door closers | |  | |
|  |  |  | 152 | Fire detectors | |  | |
|  |  |  | 153 | Exhaust fan | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Industrial Technology Labs** | | **Remarks** | |
|  |  |  | 160 | Emergency lighting | |  | |
|  |  |  | 161 | Fire-rated construction and door closers | |  | |
|  |  |  | 162 | Fire detectors | |  | |
|  |  |  | 163 | Welding booth exhaust | |  | |
|  |  |  | 164 | Eye glasses\* | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Kitchens** | | **Remarks** | |
|  |  |  | 176 | Fire-rated construction and door closers | |  | |
|  |  |  | 177 | Fire detectors | |  | |
|  |  |  | 178 | Fire extinguishers | |  | |
|  |  |  | 179 | Range canopy exhaust | |  | |
|  |  |  | 180 | Inspection and cleaning of cooking exhaust system | |  | |
|  |  |  | 181 | Filter installation and maintenance | |  | |
|  |  |  | 182 | Cooking hood extinguishing systems | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Library and Media Centers (A)** | | **Remarks** | |
|  |  |  | 189 | Posted occupancy loads | |  | |
|  |  |  | 190 | Number of exits | |  | |
|  |  |  | 191 | Means of egress arrangement | |  | |
|  |  |  | 192 | Illuminated exit signs | |  | |
|  |  |  | 193 | Emergency lighting | |  | |
|  |  |  | 194 | Fire-rated construction and door closers | |  | |
|  |  |  | 195 | Fire detectors | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Mechanical & Furnace Rooms** | | **Remarks** | |
|  |  |  | 198 | Fire-rated construction and door closers | |  | |
|  |  |  | 199 | Fire detectors | |  | |
|  |  |  | 200 | Storage of combustibles | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Music Practice Rooms** | | **Remarks** | |
|  |  |  | 202 | Sound proofing used as wall covering | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Photo Developing Rooms** | | **Remarks** | |
|  |  |  | 207 | Emergency lighting | |  | |
|  |  |  | 208 | Fire-rated construction and door closers | |  | |
|  |  |  | 209 | Fire detectors | |  | |
|  |  |  | 210 | Exhaust fan | |  | |
|  |  |  | 211 | Proper storage of chemicals | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Science Laboratories** | | **Remarks** | |
|  |  |  | 225 | Fire-rated construction and door closers | |  | |
|  |  |  | 226 | Fire detectors | |  | |
|  |  |  | 227 | Exhaust fan | |  | |
|  |  |  | 228 | Fume hood exhaust | |  | |
|  |  |  | 229 | Eye glasses\* | |  | |
|  |  |  | 230 | Proper storage of chemicals | |  | |
|  |  |  | 231 | Emergency fuel burner switch | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Shower and Locker Rooms** | | **Remarks** | |
|  |  |  | 235 | Number of exits | |  | |
|  |  |  | 236 | Illuminated exit signs | |  | |
|  |  |  | 237 | Emergency lighting | |  | |
|  |  |  | 238 | Exhaust fan\* | |  | |
|  |  |  | 239 | Vapor-proof lights\* | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Stage (Large), and Accessory Areas** | | **Remarks** | |
|  |  |  | 243 | Illuminated exit signs | |  | |
|  |  |  | 244 | Emergency lighting | |  | |
|  |  |  | 245 | Fire-rated construction and door closers | |  | |
|  |  |  | 246 | Proscenium wall protection | |  | |
|  |  |  | 247 | Curtains and scenery | |  | |
|  |  |  | 248 | Sprinkler systems and ventilators | |  | |
|  |  |  | 249 | Standpipes for stages | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Stages (Small)** | | **Remarks** | |
|  |  |  | 256 | Illuminated exit signs | |  | |
|  |  |  | 257 | Emergency lighting | |  | |
|  |  |  | 258 | Curtains and scenery | |  | |
|  |  |  | 259 | Fire detectors | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Stages with Storage Underneath** | | **Remarks** | |
|  |  |  | 265 | Fire-rated construction and door closers | |  | |
|  |  |  | 266 | Noncombustible storage only | |  | |
|  |  |  | 267 | Fire detectors | |  | |
|  |  |  | 268 | Sprinklers | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Stairwells** | | **Remarks** | |
|  |  |  | 272 | Properly maintained stairs | |  | |
|  |  |  | 273 | Illuminated exit signs | |  | |
|  |  |  | 274 | Emergency lighting | |  | |
|  |  |  | 275 | Interior exit stair enclosure | |  | |
|  |  |  | 276 | No storage under stairs | |  | |
|  |  |  | 277 | Fire detectors | |  | |
|  |  |  |  |  | |  | |
|  |  |  |  |  | | **Remarks** | |
| **Y** | **N** | **N/A** |  | **Storage/Supply/Closets** | |  | |
|  |  |  | 283 | Fire-rated construction and door closers | |  | |
|  |  |  | 284 | Fire detectors | |  | |
|  |  |  | 285 | Classroom/janitor’s closets | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Swimming Pools** | | **Remarks** | |
|  |  |  | 289 | Posted occupancy loads (A) | |  | |
|  |  |  | 290 | Number of exits (A) | |  | |
|  |  |  | 291 | Means of egress arrangement (A) | |  | |
|  |  |  | 292 | Illuminated exit signs (A) | |  | |
|  |  |  | 293 | Emergency lighting (A) | |  | |
|  |  |  | 294 | Fire-rated construction (A) | |  | |
|  |  |  | 295 | Vapor-proof lights\* | |  | |
|  |  |  | 296 | Exhaust fan\* | |  | |
|  |  |  | 297 | IDPH safety equipment\* | |  | |
|  |  |  | 298 | Fire extinguishers | |  | |
|  |  |  | 299 | Fire detectors | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Teacher’s Workroom/Lounge** | | **Remarks** | |
|  |  |  | 301 | Fire-rated construction and door closers | |  | |
|  |  |  | 302 | Fire detectors | |  | |
|  |  |  | 303 | Exhaust fan | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Time-Out Rooms** | | **Remarks** | |
|  |  |  | 304 | Ceiling height | |  | |
|  |  |  | 305 | Safe construction | |  | |
|  |  |  | 306 | Locking | |  | |
|  |  |  | 307 | Monitoring | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Toilets** | | **Remarks** | |
|  |  |  | 309 | Exhaust fan\* | |  | |
|  |  |  |  |  | |  | |
| **Y** | **N** | **N/A** |  | **Woodworking Shops** | | **Remarks** | |
|  |  |  | 314 | Emergency lighting | |  | |
|  |  |  | 315 | Fire-rated construction and door closers | |  | |
|  |  |  | 316 | Fire detectors | |  | |
|  |  |  | 317 | Fire extinguishers | |  | |
|  |  |  | 318 | Sawdust collector and exhaust | |  | |
|  |  |  | 319 | Eye glasses\* | |  | |
|  |  |  | 320 | Housekeeping | |  | |

**\***Will not be addressed by fire service personnel

**Comments:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_